## LVSB and MCC
Item | Equipment \ Material | Acceptable Manufacturer | Country of Origin
1 | LV Switchboard, Motor Control Center | National Concord - NCE Metrix Viking & Ellison | Hong Kong Hong Kong Hong Kong
2 | Air Circuit Breaker | ABB GE MG Mitsubishi Siemens Teraksaki | Italy \ PRC Netherlands \ PRC France \ PRC Japan \ PRC Germany \PRC Japan \ PRC
3 | Moulded Case Circuit Breaker | ABB GE Hager MG Mitsubishi Siemens Teraksaki | Italy \ PRC Hungary \ Poland France \ PRC France \ PRC Japan \ PRC Germany \ PRC Japan \ PRC
4 | Fueswitch, & Isolator | ABB Holec Schneider Siemens Socomec | Finland \ PRC Holand \ PRC Italy \ PRC Germany \ PRC Italy \ PRC
5 | Automatic Transfer Switch | ABB GE MG Siemens Socomec | Italy \ PRC USA \ PRC France \ PRC Germany \ PRC Italy \ PRC
6 | Manual Changeover Switch | Socomec | France
7 | Power Factor Correction Bank | ABB Circuitor EPCOS MG Vishay\ESTA Lifasa | Belgium Spain Germany\Spain\PRC France India Spain
8 | Motor Starter | ABB GE Siemens Telemecanique Teraksaki | Italy \ PRC USA \ PRC Germany \ PRC France \ Indonesia \ CZ Republic Japan \ PRC
9 | Variable Speed Drive | ABB Danfoss Siemens Telemecanique | Finland \ PRC Denmark \ PRC UK \ PRC Austria \ Japan \ PRC
10 | Auto-Transformer | Boardman Laplace Michael Reidel | UK \ PRC Hong Kong \ PRC Germany
11 | Digital Protection Relay | ABB Areva CSPC Reyrolle (Siemens) Thytronic | Sweden France India UK Italy
12 | Undervoltage Relay | Broyce Control Carlo Gavazzi Foxtam Mulitek | UK Switzerland UK UK
13 | TVSS | ABB DEHN EFI LP System Schneider | USA \ PRC Germany USA Malaysia USA \ PRC
14 | Power Analyzer | Circuitor PML Satec Schneider (MG) Siemens Socomec | Spain Canada Israeli France \ Thailand Germany France
15 | Voltmeter & Ammeter | Circuitor Crompton IME SACI | Spain UK Italy Spain
16 | CurrentTransformer | Crompton Hobut KT Nitech QA SEMS | UK UK India Singapore UK Singapore
17 | CT Test Terminal Block | Wago Weidmuller | Germany \ PRC Germany \ PRC
18 | HRC Fuse | Bill Bussmann DF Gave GEC MEM Lawson SIBA | UK UK Germany Spain UK UK UK Germany
19 | Battery | Alcad Hitanica Gadnica Gent | Sweden Japan PRC UK
20 | Battery Charger | Chloride Giyik AEG (Saft) South West (S&W) | UK Hong Kong Germany UK
21 | Selector Switch, Pushbutton and Indicating Lamps | Idec Izumi Kraus & Naimer Mibuka Denki Telemecanique | Japan \ PRC Singapore \ PRC Japan \ PRC France \ Indonesia \ CZ Republic
22 | Control Relay | Finder Idec Izumi Omron Telemecanique Weidmuller | Italy \ PRC Japan \ PRC Japan \ PRC France \ PRC Germany \ PRC
23 | Anti-Condensation Heater | Pentagon DBK | UK Germany
24 | Control Cable | AEI Draka Keystone Pirelli | UK UK PRC UK
25 | Terminal Block | ABB Entrelec Phoenix Contact Wago Weidmuller | Italy \ PRC Germany \PRC Germany \ PRC Germany \ PRC
26 | Heat Shrinkable Tube | 3M Raychem Woer | USA \ PRC Canada \ PRC PRC